## Calibration Register
INSTRUMENT CALIBRATION REGISTER
IATF 16949 Cl. 7.1.5.1 ¦ MSA ¦ Calibration Control ¦ QMOS
Inst. ID | Instrument Name | Make / Model | Range | Least Count | Location | Last Cal. Date | Cal. Due Date | Cal. Agency | Certificate # | Status | Remarks | Risk
VC-01 | Vernier Caliper 150mm | Mitutoyo 530-112 | 0-150mm | 0.02mm | Line 1 | 15-Jan-25 | 15-Jul-25 | Precision Cal Svc | PCS-2025-001 | OK |  | Low
VC-02 | Vernier Caliper 150mm | Mitutoyo 530-112 | 0-150mm | 0.02mm | Line 2 | 15-Jan-25 | 15-Jul-25 | Precision Cal Svc | PCS-2025-002 | OK |  | Low
MC-01 | Outside Micrometer 0-25 | Mitutoyo 103-137 | 0-25mm | 0.001mm | Metrology Lab | 15-Jan-25 | 15-Jul-25 | External Lab | EL-2025-011 | OK |  | Low
MC-02 | Outside Micrometer 25-50 | Mitutoyo 103-138 | 25-50mm | 0.001mm | Metrology Lab | 15-Jan-25 | 15-Jul-25 | External Lab | EL-2025-012 | OK |  | Low
GG-01 | Go/No-Go Gauge M10 | Custom | M10x1.5 | Go/NoGo | Line 3 | 05-Feb-25 | 05-Aug-25 | External Lab | EL-2025-021 | OK |  | Medium
GG-02 | Go/No-Go Gauge M12 | Custom | M12x1.75 | Go/NoGo | Line 1 | 05-Feb-25 | 05-Aug-25 | External Lab | EL-2025-022 | OK |  | Medium
PG-01 | Profile Gauge | Special | Per drawing | 0.1mm | Metrology Lab | 05-Feb-25 | 05-Aug-25 | External Lab | EL-2025-031 | OK |  | High
BG-01 | Bore Gauge 20-35mm | Mitutoyo 526-101 | 20-35mm | 0.001mm | Metrology Lab | 15-Mar-25 | 15-Sep-25 | External Lab |  | DUE | Schedule calibration | High
TG-01 | Thread Gauge M8 | Standard | M8x1.25 | Go/NoGo | Line 2 | 15-Mar-25 | 15-Sep-25 | External Lab |  | DUE | Schedule calibration | Medium
TG-02 | Thread Gauge M10 | Standard | M10x1.5 | Go/NoGo | Line 3 | 15-Mar-25 | 15-Sep-25 | External Lab |  | DUE | Schedule calibration | Medium
DI-01 | Dial Indicator 0-10mm | Mitutoyo | 0-10mm | 0.01mm | Fixture | 15-Apr-25 | 15-Oct-25 | External Lab |  | Planned |  | Low
DG-01 | Digital Height Gauge | Mitutoyo 192-625 | 0-300mm | 0.001mm | Metrology Lab | 15-Apr-25 | 15-Oct-25 | External Lab |  | Planned |  | Medium
HM-01 | Hardness Tester (Rockwell) | Wilson | HRC 20-70 | 1 HRC | Metrology Lab | 15-May-25 | 15-Nov-25 | External Lab |  | Planned |  | High
RS-01 | Weighing Scale 5kg | Sartorius | 0-5kg | 0.1g | QC Lab | 15-May-25 | 15-Nov-25 | External Lab |  | Planned |  | Low
CS-01 | CMM Probe Set | Renishaw | Per spec | 0.001mm | CMM Room | 15-Jun-25 | 15-Dec-25 | OEM |  | Planned | Annual OEM calibration | High