## MSA Audit Checklist
MSA AUDIT CHECKLIST — IATF 16949 Clause 7.1.5.1 & 7.1.5.2
# | Audit Question | Clause | Evidence Required | Status
1 | Is a Gauge Register maintained with all measurement devices? | 7.1.5.1 | Gauge Register showing all gauges, calibration status, next due date
2 | Are all gauges calibrated against traceable standards? | 7.1.5.1 | Calibration certificates, traceability chain to NABL/NPL
3 | Is GRR study performed before using gauge for process data? | 7.1.5.1 | GRR study report with <30% result
4 | Are GRR studies repeated after gauge repair or process change? | 7.1.5.1 | ECN-triggered GRR re-study records
5 | Is %GRR reported vs both TV and Tolerance? | 7.1.5.1 | GRR report showing both % Study Var and % Tolerance
6 | Are NDC values calculated and ≥ 5 for variable gauges? | 7.1.5.1 | GRR report with NDC column
7 | Are CC characteristics measured with gauges having GRR < 10%? | 8.5.1.1 | CC characteristic list cross-referenced to GRR results
8 | Is Bias study performed for all reference gauges? | 7.1.5.1 | Bias study report with t-test result
9 | Is Linearity study performed across operating range? | 7.1.5.1 | Linearity study with R² > 0.95
10 | Is Stability study ongoing for critical gauges? | 7.1.5.1 | Stability control charts — all points in control
11 | Are attribute gauges evaluated with Kappa coefficient? | 7.1.5.2 | Attribute GRR report, Kappa ≥ 0.75
12 | Are operators trained on measurement technique? | 7.2 | Training records, competency assessment
13 | Are MSA studies included in PPAP submission (Element 8)? | 8.3.4.4 | PPAP package Element 8 — MSA study reports
14 | Is MSA re-study triggered by 4M changes? | 10.2.3 | 4M change record linking to MSA re-study